## Slide 1
Dataset name | Sample | Mode (SEC/Batch) | Notes
PR01 | 1 - WT Tau5 apo | SEC | Complex elution, MALS not useable
PR02 | 2 - AA Tau5 apo | SEC | Complex elution, MALS not useable
PR03 | 3 - GG Tau5 apo | SEC | Complex elution, MALS not useable
PR04 | 4 - WT Tau5 + EPI-001 | SEC | Complex elution, MALS not useable
PR05 | 5 - AA Tau5 + EPI-001 | SEC | No data (pressure alarmed system)
PR0006 | buffer | batch | seems slightly off for subtraction (temperature mismatch, possibly?)
PR0007 | buffer + 2% DMSO | batch | 
PR0008 | buffer + 2% DMSO + 0.3 mM EPI-001 | batch | 
PR0009 | WT Tau5 apo (1.2 mg/mL) | batch | 
PR0010 | WT Tau5 (1.2 mg/mL) + 2% DMSO | batch | 
PR0011 | WT Tau5 (1.2 mg/mL) + 2% DMSO + 0.3 mM EPI-001 | batch | 
PR0012 | AA Tau5 apo (1.2 mg/mL) | batch | 
PR0013 | AA Tau5 (1.2 mg/mL) + 2% DMSO | batch | 
PR0014 | AA Tau5 (1.2 mg/mL)+ 2% DMSO + 0.3 mM EPI-001 | batch | 
PR0015 | GG Tau5 apo (1.2 mg/mL) | batch | 
PR0016 | GG Tau5 (1.2 mg/mL) + 2% DMSO | batch | 
PR0017 | GG Tau5 (1.2 mg/mL)+ 2% DMSO + 0.3 mM EPI-001 | batch | 
PR0018 | buffer | batch | very low volume injection
PR0019 | buffer + 2% DMSO | batch | 
PR0020 | buffer + 2% DMSO + 0.3 mM EPI-001 | batch | 
PR0021 | buffer | batch | low volume injection
PR0022 | buffer + 2% DMSO | batch | 

## Slide 2: 1 - WT Tau5 apo

## Slide 3: 2 - AA Tau5 apo

## Slide 4: 3 - GG Tau5 apo

## Slide 5: 4 - WT Tau5 + EPI-001

## Slide 6: APS WT apo Batch
WT Tau5 apo (1.2 mg/mL)

## Slide 7: APS WT DMSO Batch
WT Tau5 (1.2 mg/mL) + 2% DMSO

## Slide 8: APS WT EPI-001 in DMSO Batch
WT Tau5 (1.2 mg/mL) + 2% DMSO + 0.3 mM EPI-001

## Slide 9: APS AA apo Batch
AA Tau5 apo (1.2 mg/mL)

## Slide 10: APS AA DMSO Batch
AA Tau5 (1.2 mg/mL) + 2% DMSO

## Slide 11: APS AA EPI-001 in DMSO Batch
AA Tau5 (1.2 mg/mL)+ 2% DMSO + 0.3 mM EPI-001

## Slide 12: APS GG apo Batch
GG Tau5 apo (1.2 mg/mL)

## Slide 13: APS GG DMSO Batch
GG Tau5 (1.2 mg/mL) + 2% DMSO

## Slide 14: APS GG EPI-001 in DMSO Batch
GG Tau5 (1.2 mg/mL)+ 2% DMSO + 0.3 mM EPI-001

## Slide 15: From BNL, WT SEC-SAXS

## Slide 19: From BNL, W397A/W433A SEC-SAXS

## Slide 24: Castration resistant prostate cancer drug candidates target the disordered N-terminal domain of the androgen receptor
Salvatella, NSMB 2023
Androgen Receptor Domain Organization
EPI-001
Splice Variant AR-7 linked to CRPC lacks LBD
1aa
EPI-001 stabilizes oligomeric Tau-5* species through aromatic residue–mediated helical interaction networks
Tau-5
+ EPI-001
Tau-5
TC (oC)
10
20
Oligomers produce more rigid condensates that reduce RNA Polymerase II recruitment and oncogenic transcription
Activation Domain
AD
Drug candidates that target the disordered AR AD
have common moiety of aromatic rings
Salvatella, Sci Advances 2026
Masofaniten (Phase I/II)
Notes: The androgen receptor is a nuclear transcription factor that drives prostate cancer progression. It has a well-defined domain organization: an N-terminal activation domain, a DNA-binding domain, and a ligand-binding domain at the C-terminus.
Patients with castration-resistant prostate cancer, or CRPC. develop resistance to standard androgen deprivation therapies, often through the emergence of a splice variant called AR-V7. Critically, AR-V7 lacks the C-terminal ligand-binding domain entirely, which means the traditional drug targets are simply not present.
This has driven enormous interest in targeting the disordered N-terminal activation domain instead. When we look at the drug candidates that have emerged for this purpose, one structural pattern stands out: they all share a common moiety consisting of two aromatic rings. it strongly implies that aromatic interactions with the intrinsically disordered activation domain are mechanistically important.
One of the initial candidates, EPI-001, has been shown to stabilize oligomeric species of a region called Tau-5 — specifically through aromatic residue–mediated helical interaction networks. These oligomers, in turn, produce more rigid condensates that reduce RNA Polymerase II recruitment, ultimately reducing the oncogenic transcription program that drives CRPC.
Because ligand-induced oligomerization could originate from interactions with monomer Tau-5 molecules, understanding the conformational and sequence features that govern binding at the monomer level is a first step toward understanding the overall binding mechanism.
This led us to ask: what structural features within monomeric Tau-5 enable EPI-001 binding and potentially influence the downstream formation of ligand-stabilized oligomers?

## Slide 25: Questions
When trying to get P(r) functions, do you ever cut off the larger q-values given that there is an option in the biosaxs raw gui?
Using the API, is there an easier way to get svd plots?